Annexure-C

Project Completion Report for Grid-Connected Rooftop

| Sanction Letter No.: | NP-APEPD25-8809873 |  |  |
| --- | --- | --- | --- |
| Proposal Title: | Solar Power Plant 03Kw |  |  |
| SC No. | 1455757511005629 |  |  |
| Installed by Vendor: | Veera Vijaya Solar Systems |  |  |
| Title of the Project: | Solar Power Plant | SPV Capacity (kWp): | 03 KW |
| Category of the organization/beneficiary: | I C (Domestic) | Name of the contact person: | Bonthu Sowmya |
| Address of contact person: | Bonthu Sowmya D.No: 5-30/2, Vidya Nagar, Vakalapudi, Kakinada, Kakinada District, Andhra Pradesh-533005 |  |  |
| State: | Andhra Pradesh | District/City: | Kakinada District |
| Mobile: | 9492654608 | Email: |  |
| Aadhaar Card Number (For Residential) | 710690993038 | Latitude: |  |
|  |  | Longitude: |  |
| DISCOM | APEPDCL | Sanction Load | 06 kw |
| CA No. |  |  |  |

| Technology Description & System Design / Specification |  |  |  |
| --- | --- | --- | --- |
| (Compliance to BIS/IEC Standards is mandatory) |  |  |  |
| 1.SolarPVModule: |  |  |  |
| Power of each PV Module / Nos.(Wp)* / Make | 575 Wp | 06 nos | Waaree Energies Limited. |
| Cumulative Capacity of Modules (KWp): | 03 KWp |  |  |
| Solar cell technology: | TOPCON | Tilt Angle of Modules: | 19° towards South |
| Module efficiency(in%): | 22 % | Azimuth | 180° |
| Indigenous or imported(Cell) | Imported | RFID passed inside or outside: | Pasted Inside |
| Indigenous or imported(Module) | Indigenous | * Supported by Appropriate documentation |  |
| 2.Inverters: |  |  |  |
| Type of inverter: | Solar Grid Connected Inverter |  |  |
| Power of each PCU/Nos. of inverters (KVA)* /Make | 3 KVA | One Number | Waaree Energies Limited |
| Capacity/Power of PCU/inverters (KVA) : | 3 kw | Type of Charge Controller /MPPT | MPPT |
| Inverter efficiency(in%) | 98 % |  |  |
| Grid connectivity level phase | Three Phase | Grid connectivity level Voltage | 220V |

| 3.Mounting Structures |  |  |  |
| --- | --- | --- | --- |
| Type | Fixed | Surface Finish | Galvanized |
| Material | MS Hot Dip Galvanized | Wind Speed Tolerance | 150 KMPH |
| 4.Cables: |  |  |  |
| DC Cable Make | Waacab | Size | 4 Sq mm |
| AC Cable Make (Inverter to ACDB) | Waacab | Size | 4 Sq mm |
| AC Cable Make (ACDB to Electric Panel) | Waacab | Size | 4 Sq mm |
| Conductor |  | Insulation/ sheath | PVC/XLPE |
| 5.JUNCTIONBOX & DISTRIBUTION BOARDS |  |  |  |
| ACDB | 32 Amps | Nos. | One |
| DCDB | 2 in 2 out | Nos. | One |
| 6.EARTHING & LIGHTNING PROTECTION |  |  |  |
| EQUIPMENT EARTHING | One |  |  |
| AC(Nos.) | One | Earth Resistance | 2.0 Ohms |
| DC(Nos.) |  | Earth Resistance | 2.0 Ohms |
| LIGHTNING ARRESTORS (LA) |  |  |  |
| Type | Franklin type with spikes |  |  |
| LA (Nos.) | One | Earth Resistance | 2.0 Ohms |
| 7.Online Monitoring Mechanism: |  |  |  |
| Web Portal: |  |  |  |
| USERID: |  | Password: |  |
| 8.Weather monitoring: |  |  |  |
| Solar Irradiance (Pyranomerter - Class IInd or better) |  | Temperature | Ambient &Module |
| Wind speed sensor |  |  |  |
| 9.Fire Fighting Device/System | Apex Fire |  | Ammonium Phosphate dry powder |
| 10.Danger Board | Solar Systems |  | PVC |

Date:	(Signature of Vendor)

With Stamp

Commissioning Test Report: Solar Project 04 kW

Inverter Testing (DC) Side :Nos. of Inverter	Nos.

| Inverter S.No. | Capacity | String1:Voc | String2:Voc | Remark |
| --- | --- | --- | --- | --- |
|  | 03 KW | 480 | 480 |  |

Inverter Testing (AC) Side – Single/Three Phase

| Inverter S. No. | Capacity | R–Y/P- N | Y– B | B-R | R –N | Y– N | B-N | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 03kw | 440/220 | 440 | 440 | 240 | 240 | 240 |  |

ACDB & Meter Panel Testing–Single/Three Phase

|  | R–Y/ P-N | Y–B | B– R | R–N | Y– N | B-N | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ACDBI/C(V) | 440/220 | 440 | 440 | 240 | 240 | 240 |  |
| ACDBO/G(V) | 440/220 | 440 | 440 | 240 | 240 | 240 |  |

Earthing Pit Details :Number of Earth Pits : 03 Nos.

|  | Earthing AC | Earthing DC | Earthing LA | Remark |
| --- | --- | --- | --- | --- |
| Earth Test Value(Ohm) | 2.0 Ohms | 2.0 Ohms | 2.0 Ohms |  |

Date:	(Signature of Vendor)

With Stamp